- Full Gigabit 52 -port smart POE switch

The TBC-PSF5648U-4PF series of full-Gigabit POE switches are innovatively developed by Tianbo Communications specifically to meet PoE power supply requirements. Utilizing the latest high-speed Ethernet switching chips and an ultra-high backplane bandwidth design, they offer blazing-fast data processing and smooth data transmission. They feature 48 RJ45 POE ports, two Gigabit uplink RJ45 electrical ports, and two Gigabit uplink SFP optical ports. All 48 RJ45 ports support IEEE 802.3af/at PoE, with a maximum power supply of 15.4W/30W per port, for a total total power of 700W. They automatically detect and identify IEEE 802.3af/at-compliant powered devices and prioritize power delivery via the network cable.

Product images:

Product structure: 1U standard size 52 ports = 48+2+2

Product Description:

Port performance

Provides 48 10/100/1000Mpbs RJ45 adaptive high-speed forwarding data without packet loss RJ45 ports.

Provides two 10/100/1000Mpbs RJ45 uplink ports + two SFP optical/electrical multiplexing ports;

Each port supports MDI/MDIX automatic flip and auto-negotiation, and supports IEEE 802.3x full-duplex flow control and Backpressure half-duplex flow control

PoE power supply performance

48 10/100/1000Mpbs RJ45 ports support PoE power supply, meeting the PoE power supply needs of scenarios such as security monitoring, teleconferencing systems, and wireless coverage APs.

Complying with IEEE 802.3af/at PoE power supply standards, the PoE output power of the entire device reaches 700W, and the maximum PoE output power of a single port is 15.4W/30W.

Automatically identifies PoE devices and provides power without damaging non-PoE devices.

PoE ports support a priority mechanism. When the remaining power is insufficient, the power supply of high-priority ports is prioritized to prevent equipment from overloading.

Working Mode

Standard switching mode: all ports communicate freely, suitable for general data transmission environment;

Video surveillance mode: specially designed for surveillance applications to improve the freezing and mosaic phenomena in the surveillance network.

VLAN isolation mode---suppresses network storms and improves network performance.

VLAN switch instructions:

OFF: When the control key is adjusted to this position, it means that ports 1-48 of the POE switch can communicate with each other.

▶ON: When the control key is adjusted to this position, it means that the POE switch ports 1-48 are isolated from each other and can only communicate with the uplink electrical ports 49 and 50 and the SFP1 and SFP2 optical ports respectively.

Stable and reliable equipment

The host has a low power consumption and silent design to ensure stable operation of the product.

It uses a self-developed power supply with a high redundancy design, providing long-term stable 700W PoE power output.

The equipment meets the national CCC standards, fully complies with safety regulations, and is safe and reliable to use.

Simple operation and strong scalability

Easy to use, no configuration required, plug and play, strong compatibility, no device burnout

High-speed transmission, no data packet loss, flexible expansion, so the network is not restricted by power line layout, saving user costs

Meet the network environment that requires high-density PoE power supply

It is suitable for financial institutions, government agencies, hotels, shopping malls, campuses, hospitals and small and medium-sized enterprises to build cost-effective networks.

Product parameters:

| Network Standards | IEEE 802.3, IEEE 802.3u, IEEE 802.3x, IEEE 802.3af, IEEE 802.3at |
| --- | --- |
| port | 48 10/100/1000Mbps RJ45 ports 2 10/100/1000Mbps RJ45 uplink ports + 2 uplink SFP optical ports |
| POE power supply | 48 10/100/1000Mbps RJ45 ports support PoE power supply The maximum power supply of the whole machine is 700W a single port is 15.4W/30W |
| POE connection | 1-48 ports support IEEE802.3af/at Supports 12+ and 36-power supply lines and 8-core data transmission End span transmission, transmission distance 100m |
| indicator light | Each port has one LINK/ACT.1000Mbps POE Status indicator, whole device power indicator |
| performance | Store and Forward Support 16K MAC Switching capacity 104Gbps, forwarding rate: full line-speed filtering and forwarding 75.3Mpps |
| Forwarding rate | 10Mbps:14880pps 100Mbps:14880pps 1000BASE-T: 1488095pps/port |
| Port Function | Power supply priority mechanism, fast forwarding, MAC automatic learning and aging IEEE802.3X full-duplex flow control and backpressure half-duplex flow control |
| Usage Environment | Working temperature: -10℃--55℃ |
| Power supply and power | Built-in power supply 220V, 50HZ ≥700W |
| Weight | 5KG |
| Dimensions (W x D x H) | 440*280*47mm |